
[image: image1.jpg]smart cooking



Product description
[image: image2.jpg]+

SALVIS

e T T D

v

T

=0y

=S N M o LOP AP O S PR

P AR

00000000
09000000
00090000




Condensation hood for CucinaEVO 611T and 1011T
Specification:

	Type:
	Condensation hood
	

	Dimensions (W x D x H):
	550 x 828 x 150
	

	Connected load:
	0,06 kW
	

	Voltage:
	230 V 
	

	Fan speeds
	4
	

	Extraction capacity
	600 m3/h
	

	Noise level
	48,5 dBA (2) – 58,0 dBA (4)
	

	Protection:
	Water jet protection IPx4
	

	Max. energy consumption
	0,06 kW/h
	

	
	
	

	
	
	


Specific characteristics:

· Compact mounted unit for Salvis CucinaEVO 611T and 1011T.

· Combination of hood and steam condenser.

· There is a minimal overlap from the outer contours to the Salvis-CUCINA.

· Control and power supply via CucinaEVO.

· Fan level 1 switches on automatically when CucinaEVO starts
· Four-level blowing power is controlled automatically, dependent on the operating level of the CucinaEVO
· During cooking, steam and vapours condense and are removed by 4 heat exchangers
· Condensate drains directly through the drainage system of the Combi-Steamer
· Fan run-on controlled automatically by a timed relay
· Condensation effectiveness of hood system exceeds 80 %.

Execution / Specification:
· Housing and plate capacitors made of chrome-nickel steel AISI 304

· Surface smoothed
· Condensation hood with removable, dishwasher-safe grease filters
Subject to technical changes!

Manufacturer: Salvis AG, Nordstrasse 15, 4665 Oftringen, Switzerland
Version 05/2024
1/1

