	Pos.:
	Description
	Qty
	ME
	Unit price 


	Total price 



	
	
	

	
	Salvis Fresh & Smart
Specification:


planed:

Dimensions (WDH):    
              1100 x 720 x 1150 mm
Weight:



115 kg

Power:
 


22 kW
Voltage:



400 V
Frequency:


50 Hz

Fuse:



32 A
Approvals:


CE
	offered:

...........................................

...........................................

...........................................

...........................................

………………………………
………………………………
………………………………

………………………………

………………………………



	
       

	
	The mobile front cooking station with integrated three-sided suction.
With the Fresh&Smart by Salvis, the annoying cooking odours generated during the cooking process are eliminated right 
where they are produced. This is made possible by a three-sided suction, which is installed directly above the cooking devices. The steam and odours are routed via ventilation slots to a specially designed filtering system below. The Fresh Air System completely neutralises uncomfortable odours.
The mobile cooking station can be installed on the different Smartline devices by Salvis.
Mobile without hood - the solution for the modern front cooking!
Special Features
· Steam and odours are eliminated right where they start
· Direct, 3-sided suction, no external ventilation unit necessary
· 80% odour destruction
· Flexible use due to high mobility
· Conquering new and additional market segments
· All parts are easy to clean
· Optional with glass attachment including lighting
· Can be driven with 4 caster rollers, two of them with brakes
· Can be installed on different Smartline devices, as needed
Design:
· Compact design with housing body made of CNS
· Drivable with 4 caster rollers, two of which are equipped with brakes or for stationary installation
· Fresh air system with
· integrated vortex flow filter (E cyclone) coated with aluminium
· two separate grease trap containers
· three odour filters, double cassettes filled with Zeolith 
· three active carbon filters
· two ventilator motor units
· Integrated sockets  2 x 230V and 2 x 400V CEE
Documentation:
· Installation and Operating Manual
Technical amendments reserved!

	
	

	
	Manufacturer: Salvis AG, Oftringen

	_____
	____
	_________
	_________




















[image: image1.jpg]smart cooking



Version 02/2017
2/2

